## DCS
مشخصات فني مناقصه شماره 98/384 م م - خريد قطعات يدكي جهت سيستم هاي DCS ,F&G AND ESD منطقه غرب كارون
شماره قلم ITEM NO | شماره طبقه بندي كالا MESC NO | واحد كالا UNIT | شرح كالا DESCRIPTION | مقدار REQ QTY
1- ارائه گواهی اصالت کالا از مبدا کشور سازنده الزامی می باشد . 2- تایید نهایی منوط به عملکرد نرمال در تست میدانی می باشد .
1 | 67.95.29.603.3 | NO | switch
|  |  | M.F.: cisco | 2
Part Number: CISCO 2960
2 | 67.97.29.102.3 | NO | switch | 2
M.F.: TP-LINK
Part Number: TL-SF1016
1- M.F : Honeywell
3 | 59.35.31.510.3 | NO | EARTH LEAKAGE DETECTOR | 1
Part Number : 10310/1/1
4 | 59.35.31.511.3 | NO | System Power supply Input 115/230VAC (V2.1) | 1
Part Number : FC-PSU-UNI2450U
5 | 59.35.31.512.3 | NO | BATTERY AND KEYSWITCH MODULE | 1
Part Number : FS-BKM-0001 CC V1.1
6 | 59.35.31.513.3 | NO | CHASSIS FOR CONTROL PROCESSOR | 1
Part Number : FS-CPCHAS-0001
7 | 59.35.31.514.3 | NO | COMM INTERFACE FTA FOR RS232 AND RS485 | 1
Part Number : FC-DCOM-232/485 CC V2.1
8 | 59.35.31.515.3 | NO | I/O BUS FROM CPCHAS TO IOCHAS | 2
Part Number : FS-IOBUS-CPIO
9 | 59.35.31.516.3 | NO | CHASSIS FOR REDUNDANT I/O MODULES | 1
Part Number : FS-IOCHAS-0001R
10 | 59.35.31.517.3 | NO | POWER SUPPLY UNIT 24/5 VDC, 16A | 1
Part Number : FS-PSU-240516 CC V1.1
11 | 59.35.31.518.3 | NO | FS HD ANALOG IP MOD (24 VDC, 16 CH) | 2
Part Number : FS-SAI-1620M CC V1.4
12 | 59.35.31.519.3 | NO | FS DIGITAL IP MODULE (24 VDC, 16 CH) | 2
Part Number : FS-SDI-1624 CC V1.1
13 | 59.35.31.520.3 | NO | FS DIGITAL I/LM | 2
Part Number : FS-SDIL-1608 CC V1.3
14 | 59.35.31.521.3 | NO | FS DIGITAL OP MOD (24 VDC, 0.55 A, 8 CH | 4
Part Number : FS-SDO-0824 CC V1.3
15 | 59.35.31.522.3 | NO | SYS INTER CAB TERM ON FTAS 3M | 2
Part Number : FS-SICC-0001/L3
16 | 59.35.31.523.3 | NO | BUS TERMINATOR FOR REDUNDANT I/O | 2
Part Number : FS-TERM-0002
17 | 59.35.31.524.3 | NO | SAFE DIGITAL INPUT FTA (24 Vdc, 16 CHANN) | 5
Part Number : FC-TSDI-1624
18 | 59.35.31.525.3 | NO | SAFE DIGITAL LINE MONITORING INPUT FTA (24 Vdc, 16 CHANN) | 5
Part Number : FC-TSDI-16UNI
19 | 59.35.31.526.3 | NO | DIG OP (RELAY) FTA FOR AK5/6 APP (8 CH) | 6
Part Number : FC-TSRO-0824
20 | 59.35.31.527.3 | NO | UNIVERSAL SAFETY INTERFACE | 2
Part Number : FS-USI-0002
21 | 59.35.31.528.3 | NO | Surge Protector SWITCH,MAKE:MTL | 3
Part Number : ZB24571
22 | 59.35.31.529.3 | NO | PDB BOARD | 2
Part Number : PDB-0824
23 | 60.97.51.804.3 | NO | SDW SWITCH | 2
M.F.: WESTERMO
Part Number : SDW500
24 | 59.35.31.531.3 | NO | FAN Assembly Kit | 3
Part Number : FC-FANWR-24R
25 | 59.35.31.412.3 | NO | CHASSIS FOR NON-REDUNDANT I/O MODULES | 1
Part Number : FS-IOCHAS-0001S
26 | 59.35.31.413.3 | NO | FS DIGITAL O/LM | 2
Part Number : FS-SDOL-0424 CC V1.2
27 | 59.35.31.414.3 | NO | FTA FOR DIGITAL OUTPUT LINE MONITORING MODULE | 3
Part Number : FC-TSDO-04UNI
28 | 59.35.31.415.3 | NO | BUS TERMINATOR FOR NON-REDUNDANT I/O | 1
Part Number : FS-TERM-0001
29 | 59.35.31.416.3 | NO | FS 0(4)-20 MA ANLG IP FTA (16 CH)WITH H | 3
Part Number : FC-TSAI-1620M
30 | 59.35.30.856.3 | NO | Control Firewall Module, 8Port+1uplink | 1
Part Number: CC-PCF901
31 | 59.35.30.858.3 | NO | Control Firewall IOTA, 8Port+1uplink | 1
Part Number: CC-TCF901
32 | 59.35.30.859.3 | NO | QUAD PROCESSOR PACK | 1
Part Number: FC-QPP-0002 CC V1.0
33 | 59.35.30.860.3 | NO | REDUNDANT POWER SUPPLY FOR C300 (TDI Power) | 1
Part Number: CC-PWRR01(SPS5713)
34 | 59.35.30.887.3 | NO | HART Analog Input Module, High-Level | 1
Part Number: CC-PAIH01
35 | 59.35.30.888.3 | NO | HART Analog Output Module | 1
Part Number: CC-PAOH01
36 | 59.35.30.875.3 | NO | Digital Input 24V Module | 1
Part Number: CC-PDIL01
37 | 59.35.30.889.3 | NO | Digital Output 24V Out 32 Module | 1
Part Number: CC-PDOB01
38 | 59.35.30.890.3 | NO | Analog Input IOTA, (16) | 2
Part Number: CC-TAIX01
39 | 59.35.30.891.3 | NO | Analog Input IOTA, Red., (16) | 2
Part Number: CC-TAIX11
40 | 59.35.30.892.3 | NO | Analog Output IOTA, Red., (16) | 1
Part Number: CC-TAOX11
41 | 59.35.30.893.3 | NO | Digital Input 24V IOTA, (32) | 2
Part Number: CC-TDIL01
42 | 59.35.30.894.3 | NO | Digital Output 24V IOTA, Red., (32) | 1
Part Number: CC-TDOB11
43 |  | NO | SYS INTER CAB TERM ON FTAS 8M | 2
Part Number : FS-SICC-0001/L8
44 |  | NO | SYS INTER CAB TERM ON FTAS 15M | 2
Part Number : FS-SICC-0001/L15
45 |  | NO | C300 Controller IOTA | 1
Part Number : CC-TCN01